| Equipment Name: | Cooling Pad |
| --- | --- |
| Required for: | Placing slides for testing |
| Equipment ID: | CP01 |
| Document No: | CPOQ01 |

Table of Content

| Sr. No | Description | Page No. |
| --- | --- | --- |
| 1 | Protocol Approval | 2 |
| 2 | Objective | 2 |
| 3 | Scope | 3 |
| 4 | System Identification | 3 |
| 5 | Acceptance Criteria | 4 |
| 6 | Operational Qualification Parameter | 4 |
| 7 | Preparation and Verification of SOP | 5 |
| 8 | Training | 6 |
| 9 | Non-conformance & Corrective Action | 7 |
| 10 | Summary and Conclusion | 8 |
| 11 | Report Approval | 8 |
| 12 | Revision History | 8 |

# PROTOCOL APPROVAL:

| Details | Designation | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Checked By |  |  |  |
| Approved By |  |  |  |

- OBJECTIVE:

- The objective of this Operational Qualification (OQ) is to provide formal, documented verification that the Peltier Cooling Pad has been physically delivered, unboxed, and installed in the target laboratory site according to manufacturer specifications and relevant safety and quality standards.

- This qualification verifies that:

- The physical hardware has been received intact without shipping damage.

- The mechanical, fluidic, and electrical connections are safely established.

- The installation site meets all environmental, ventilation, and power utility guidelines.

- SCOPE:

  - This Installation Qualification protocol covers the physical boundaries and site utilities associated with the installation of the Peltier Cooling Pad.

  - Physical Equipment: Dual-compartment PLA enclosure housing, 4-Peltier solid-state grid, anodized active cooling plate, brushless DC water pump, and 12V SMPS.

  - Site Interfaces: Mains AC socket (110/220V), bench spacing (140x160mm minimum footprint), and demineralized cooling water reservoir supply.

  - Logic Connections: Local 0.91" I2C OLED display lines and ESP32 wireless telemetry network.

- SYSTEM IDENTIFICATION:

  - Equipment Name: Peltier Cooling Pad

  - Equipment Model/Part Number: CP01

  - Serial Number:  01

  - Manufacturer: Candore Bioscience

  - Date of Manufacture: 10/06/2026

  - Installation Date: 10/06/2026

  - Installation Location: Santej, Ahmedabad

| System | Components |
| --- | --- |
| Control System | ESP32 S3 microcontroller |
| Display Unit | 0.91-inch OLED |
| Motor Driver | BTS7960, 43A motor driver |
| Temperature Sensing | 100K NTC Thermistor |
| Cooling System | 40x40mm TEC1-12705, Aluminium water block, 12V DC water pump |
| Power Supply | 12V, 30A SMPS |
| User Interface | Web based UI using local host wifi |

- ACCEPTANCE CRITERIA:

- PID Control Accuracy: The system must stabilize and hold target temperature points within ±0.25°C of setpoint under static load.

- Cooling Slew Rate: The active pad must cool from ambient room temperature (~22°C) to 5°C in less than 5 minutes.

- Sensor Precision: The onboard 10k NTC temperature readings must correspond to a calibrated physical reference within ±0.3°C.

- Safety Limits & Interlocks: Simulated thermistor disconnection or thermal runaway (>45°C on the hot-side water blocks) must trigger instant H-bridge driver shutdown (PWM to 0%) and raise a safety alarm on the OLED.

- Connectivity & Logs: Telemetry values must successfully broadcast over the ESP32 local server and refresh at an interval of 1 second.

- OPERATIONAL QUALIFICATION PARAMETERS:

| Component | Technical Details | Manufacturer | Quantity |
| --- | --- | --- | --- |
| ESP32 S3 | 240MHz, 4MB Flash, Integrated Wi-Fi and BLE | Espressif Systems | 1 |
| BTS7960 Motor Driver | 43A, dual H-bridge driver, with PID control | Infineon Technologies | 1 |
| TEC1-12705 Peltier | 40x40mm, 12VDC 5A, | Generic | 4 |
| 10K NTC Thermistor | ±1% tolerance, range -40°C to +150°C | EPCOS | 1 |
| 0.91-inch OLED | SSD1306 driver, 128x32 pixels, blue/white monochrome | Solomon Systech | 1 |
| 12V DC Water Pump | DC Pump for water circulation | Generic | 1 |
| 12V DC Fan | 60x60x15mm Fan for air flow | Delta Electronics | 1 |
| 12V SMPS | 12V 30A Power Supply | Maxicom | 1 |

- PREPARATION & VERIFICATION OF STANDARD OPERATING PROCEDURES:

SOP Preparation:

| Sr. No. | SOP Title | SOP No. |
| --- | --- | --- |
| 1 | Operation and Cleaning of Machine (CDF01) |  |

SOP Verification:

| SOP Title: Operation and Cleaning of Machine (CDF01) |  |
| --- | --- |
| SOP No. | Verification Date: |
| Operating Personnel | Observing Personnel |
| Verification Parameters | Observation |
| Operating personnel understands and follow SOP description and requirements |  |
| SOP provides adequate direction and control to ensure uniform operation |  |
| SOP passes/ Fails verification criteria and recommended for implementation/ Review |  |
| SOP Title: |  |
| SOP No. | Verification Date: |
| Operating Personnel | Observing Personnel |
| Verification Parameters | Observation |
| Operating personnel understands and follow SOP description and requirements |  |
| SOP provides adequate direction and control to ensure uniform operation |  |
| SOP passes/ Fails verification criteria and recommended for implementation/ Review |  |

# TRAINING:

| Training Topic (SOP No.) | Training Date | Trainer | Trainee |
| --- | --- | --- | --- |

# 9. NON-CONFORMANCE AND CORRECTIVE ACTION:

NON-CONFORMANCE

Describe the non-conformance if observed:

Documented BY/ Date

CORRECTIVE ACTION TAKEN

Describe the corrective action taken:

Documented By/ Date

COMPLIANCE REPORT

Documented By/ Date

# 10. SUMMARY AND CONCLUSION

Tick as applicable

Status of the Operational Qualification:

| Satisfactory |  | Unsatisfactory |  |
| --- | --- | --- | --- |

Availability of the Equipment for Performance Qualification:

| Ready |  | Not ready |  |
| --- | --- | --- | --- |

# 11. OPERATIONAL QUALIFICATION REPORT APPROVAL:

| Details | Designation | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Approved By |  |  |  |

# 12. REVISION HISTORY:

| Revision No. | Change Control No. | Reason for revision | Changes Incorporated |
| --- | --- | --- | --- |